## Slide 1: Power and Grid Connection Workshop 2
Newcastle to Sydney HSR 27 October 2026
Notes: [Team to confirm presenters and attendees.]

## Slide 2: Today's workshop is designed to give HSRA agreed inputs, utility actions and clear owners for the next design step
OPENING
THANK YOU
Thank you to HSRA for hosting this second Power and Grid Connection workshop.
[Acknowledge attendees and any utility representatives, to confirm.]
What HSRA is seeking from today
Agreed inputs, utility actions and clear owners for the next design step.
Our position going into the workshop
[Team to draft a one or two sentence framing of our position.]
Notes: Thank HSRA for convening the second Power and Grid Connection workshop.
[Internal: confirm who opens for GoFar and the two or three points to frame our position. Keep facilitation tactics and any fallback positions here, not on screen.]

## Slide 3: Eight decision areas take the discussion from confirming demand through to connection interfaces
AGENDA
SESSION 1
01
Peak loads
Morisset, Broadmeadow and Woy Woy
02
Connection proximity
Kangaroo Point to Woy Woy; Artarmon to Brookvale
03
Regenerative energy
Backfeeding and reverse power flow
SESSION 2
04
Grid capacity
Available capacity and connection capability
05
ATS requirements
Peak demand < 60 MVA
06
N-1 requirements
Supply resilience following a single loss
07
Renewable Energy Strategy
Options to decarbonise traction power and strengthen energy resilience
08
Metering and interfaces
Panels, touch-off points and boundaries
MEETING OUTCOME
Agreed inputs, utility actions and clear owners for the next design step.
Notes: The HSRA pack contains two agendas. The page 2 agenda lists four topics: Workshop 1 actions review, substation locations, renewable energy and high voltage power. The page 4 agenda lists the eight decision areas shown here, and the topic slides follow those eight areas across Session 1 and Session 2. This deck follows the eight areas and adds a Workshop 1 actions review up front so nothing on the page 2 agenda is lost.
[Team to confirm the running order with HSRA before the workshop.]

## Slide 4: Progress on the Workshop 1 actions sets the starting point for today's decisions
WORKSHOP 1 ACTIONS REVIEW
# | Workshop 1 action | Owner | Status | Comment
1 | [Action from Workshop 1, to confirm] | [TBC] | [TBC] | [TBC]
2 | [Action from Workshop 1, to confirm] | [TBC] | [TBC] | [TBC]
3 | [Action from Workshop 1, to confirm] | [TBC] | [TBC] | [TBC]
4 | [Action from Workshop 1, to confirm] | [TBC] | [TBC] | [TBC]
5 | [Action from Workshop 1, to confirm] | [TBC] | [TBC] | [TBC]
Source: [Workshop 1 action log, to be provided by the GoFar project manager (to confirm)]
Notes: This item appears on the page 2 agenda only.
[Team to populate from the Workshop 1 action log and confirm status with owners beforehand.]

## Slide 5: Peak loads
01

## Slide 6: Approving the load assumptions for each site gives the grid connection assessment a confirmed demand basis
01 PEAK LOADS
01
MORISSET
Confirm peak traction demand and load profile.
Peak traction demand: [MVA, TBC]
Load profile: [TBC]
Basis and source: [TBC]
02
BROADMEADOW
Confirm peak traction demand and load profile.
Peak traction demand: [MVA, TBC]
Load profile: [TBC]
Basis and source: [TBC]
03
WOY WOY
Confirm peak traction demand and load profile.
Peak traction demand: [MVA, TBC]
Load profile: [TBC]
Basis and source: [TBC]
DECISION REQUIRED
HSRA to approve the load assumptions for the grid connection assessment.
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 7: Connection proximity
02

## Slide 8: HSRA has asked for two grid connection options to be reviewed for location, proximity and interface practicality
02 CONNECTION PROXIMITY
OPTION A
Kangaroo Point
Woy Woy
OPTION B
Artarmon
Brookvale
PLACEHOLDER
Map showing both connection options, supply nodes and the alignment.
Provided by: [GoFar power and grid lead, to confirm]
Notes: Option labels and routes are taken from the HSRA agenda (page 6). The HSRA slide was not copied as an image because it carries a personal watermark.
[Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 9: Assessing both options against the same three criteria gives HSRA a like-for-like comparison
02 CONNECTION PROXIMITY
Assessment criterion | Option A: Kangaroo Point to Woy Woy | Option B: Artarmon to Brookvale
Connection distance and route constraints | [To be completed] | [To be completed]
Network suitability and utility interfaces | [To be completed] | [To be completed]
Constructability, access and program implications | [To be completed] | [To be completed]
Summary | [To be completed] | [To be completed]
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 10: Regenerative energy
03

## Slide 11: Confirming whether the network can accept reverse power flow defines the export interface for regenerative energy
03 REGENERATIVE ENERGY
01
Export requirement
Confirm the expected excess regenerative energy and when export is required.
Response:
[To be completed]
02
Grid capability
Confirm whether proposed connections can accommodate bi-directional power flow.
Response:
[To be completed]
03
Network interfaces
Identify protection, metering, control and commercial requirements for energy export.
Response:
[To be completed]
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 12: HSRA's key decision is whether excess regenerative energy is accepted, limited, stored or dissipated
03 REGENERATIVE ENERGY
1
Accept
Considerations:
[To be completed]
2
Limit
Considerations:
[To be completed]
3
Store
Considerations:
[To be completed]
4
Dissipate
Considerations:
[To be completed]
KEY DECISION
Accept, limit, store or dissipate excess regenerative energy.
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 13: Grid capacity
04

## Slide 14: Confirming available capacity at each proposed connection point shows whether the network can support traction loads
04 GRID CAPACITY
01
Available capacity
Confirm capacity available at each proposed connection point and any constraints or augmentation needs.
02
Connection capability
Confirm that the network can support anticipated traction loads and operational duty.
Connection option | Available capacity | Constraints | Augmentation needs | Supports traction loads?
Option A: Kangaroo Point to Woy Woy | [TBC] | [TBC] | [TBC] | [TBC]
Option B: Artarmon to Brookvale | [TBC] | [TBC] | [TBC] | [TBC]
Notes: Agenda pages 4 and 9 treat grid capacity and ATS requirements together (items 4 and 5). They are split here to match the eight decision areas.
[Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 15: ATS requirements
05

## Slide 16: Testing the proposed supply against the ATS demand threshold confirms which connection criteria apply
05 ATS REQUIREMENTS
< 60
MVA PEAK DEMAND
Threshold as stated in the HSRA agenda.
01
ATS criteria
Confirm applicable ATS connection criteria and implications for the proposed supply arrangement.
02
Implications for the proposed supply arrangement
Applicable criteria: [TBC]
Implications for Option A: [TBC]
Implications for Option B: [TBC]
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 17: N-1 requirements
06

## Slide 18: Defining the N-1 operating envelope shows how traction demand is supported after the loss of one supply element
06 N-1 REQUIREMENTS
SINGLE ELEMENT LOSS
Identify the credible outage case. [TBC]
ALTERNATE SUPPLY PATH
Confirm remaining capacity and switching philosophy. [TBC]
OUTCOME
Define the N-1 operating envelope and any load restrictions. [TBC]
PLACEHOLDER
Single-line diagram showing the credible outage case and the alternate supply path.
Provided by: [GoFar power and grid lead, to confirm]
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 19: Renewable Energy Strategy
07

## Slide 20: Four options to decarbonise traction power and strengthen energy resilience are to be tested during ECI
07 RENEWABLE ENERGY STRATEGY
01
Renewable grid supply
Long-term renewable PPAs or GreenPower-backed electricity for traction substations.
02
Corridor-side generation
Solar PV at depots, stations and suitable rail land, subject to access and connection studies.
03
Regeneration and storage
Capture braking energy through grid export, wayside batteries or hybrid storage solutions.
04
Intelligent energy management
Coordinate train operations, storage and grid demand to reduce peaks and improve utilisation.
DECISION LENS
Select the preferred pathway against:
Grid connection and export limits
Land, footprint and approvals
Whole-life cost and delivery risk
Reliability, resilience and emissions
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 21: Assessing each option against HSRA's decision lens identifies which option, or combination, to take forward
07 RENEWABLE ENERGY STRATEGY
Option | Grid connection and export limits | Land, footprint and approvals | Whole-life cost and delivery risk | Reliability, resilience and emissions
01 Renewable grid supply | [TBC] | [TBC] | [TBC] | [TBC]
02 Corridor-side generation | [TBC] | [TBC] | [TBC] | [TBC]
03 Regeneration and storage | [TBC] | [TBC] | [TBC] | [TBC]
04 Intelligent energy management | [TBC] | [TBC] | [TBC] | [TBC]
KEY DISCUSSION
Which option, or combination, should be taken forward for technical and commercial assessment?
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 22: Metering and interfaces
08

## Slide 23: Agreeing metering, touch-off points and boundaries gives each party clear ownership of the connection
08 METERING AND INTERFACES
01
Metering panel
Confirm panel scope, location and ownership.
Response: [To be completed]
02
Metering interface
Confirm data, protection and communication interfaces.
Response: [To be completed]
03
Touch-off points
Confirm physical connection and handover locations.
Response: [To be completed]
04
Boundaries
Confirm design, construction, operation and maintenance responsibilities.
Response: [To be completed]
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 24: A responsibility matrix confirms who designs, builds, operates and maintains each interface
08 METERING AND INTERFACES
Interface | Design | Construction | Operation | Maintenance
Metering panel | [Owner TBC] | [Owner TBC] | [Owner TBC] | [Owner TBC]
Metering interface | [Owner TBC] | [Owner TBC] | [Owner TBC] | [Owner TBC]
Touch-off points | [Owner TBC] | [Owner TBC] | [Owner TBC] | [Owner TBC]
[Other interface, TBC] | [Owner TBC] | [Owner TBC] | [Owner TBC] | [Owner TBC]
Parties to be shown: [HSRA, utility and delivery partner, to confirm].
Notes: [Speaker notes for the team to complete: who presents, key points, questions to expect and any fallback position.]

## Slide 25: Agreed positions, open items and owners set up the next design step
WRAP-UP
# | Decision area | Agreed position | Open items | Owner | Target date
01 | Peak loads | [TBC] | [TBC] | [TBC] | [TBC]
02 | Connection proximity | [TBC] | [TBC] | [TBC] | [TBC]
03 | Regenerative energy | [TBC] | [TBC] | [TBC] | [TBC]
04 | Grid capacity | [TBC] | [TBC] | [TBC] | [TBC]
05 | ATS requirements | [TBC] | [TBC] | [TBC] | [TBC]
06 | N-1 requirements | [TBC] | [TBC] | [TBC] | [TBC]
07 | Renewable Energy Strategy | [TBC] | [TBC] | [TBC] | [TBC]
08 | Metering and interfaces | [TBC] | [TBC] | [TBC] | [TBC]
REQUIRED OUTPUTS
Confirmed assumptions, agreed utility inputs, and named owners with target dates.
Notes: Agenda page 11 lists the required meeting outputs: confirmed assumptions and connection options; agreed utility inputs and outstanding information; named action owners and target dates.
[Team to capture agreements live during the workshop.]